{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":4,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":51,"n_cols":7,"rows_kept":51,"cut":false,"hidden":false,"merged":[[0,0,1,6],[2,0,2,6],[4,0,5,0],[4,1,24,1],[4,2,4,6],[6,5,8,5],[6,6,8,6],[15,5,17,5],[15,6,17,6],[8,8,10,8],[10,5,12,5],[10,6,12,6],[12,8,14,8],[13,0,14,0],[13,2,13,6],[17,8,19,8],[18,0,19,0],[18,2,18,6],[29,0,30,0],[29,1,39,1],[29,2,29,6],[31,5,36,5],[31,6,36,6],[37,0,39,0],[37,2,37,6],[46,0,46,5],[47,0,47,5],[48,0,48,5],[49,0,49,5],[40,0,41,0],[40,1,41,1],[40,2,40,6],[43,0,43,5],[44,0,44,5],[45,0,45,5]]}
["Сертификат соответствия ГОСТ ISO 9001-2011 ( ISO 9001:2008) № НЦСМ RU.АБ12.К.00036"]
[]
["ООО «Техсвет»,603107, г. Нижний Новгород, пр. Гагарина, 178, тел/факс: (831) 469-34-20.469-34-21,\ne-mail: sales@tsv-nn.ru, tehsvet_58@mail.ru, www.tsv-nn.ru"]
["№ п/п","Изображение","Название  светильника","Обозначение светильника","Наличие датчика, характеристики.","Цена *","Цена* опт"]
[1,null,"Светодиодный  светильник 7Вт  IP40"]
[null,null,"ДБО 01-7-000-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-06.14","500 лм, 6Вт, 14 СИД",570]
[2,null,"ДБО 01-7-010-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-04.14","СА, 500 лм, 7Вт, 14 СИД",620]
[3,null,"ДБО 01-7-020-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-08.14","А, 500 лм, 7Вт, 14 СИД"]
[4,null,"ДБО 01-7-030-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-10.14","С, 500 лм, 7Вт, 14 СИД"]
[5,null,"ДБО 01-7-000-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-06","500 лм, 6Вт,28 СИД",600]
[6,null,"ДБО 01-7-010-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-04","СА, 500 лм, 7Вт,28 СИД",651]
[7,null,"ДБО 01-7-020-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-08","А, 500 лм, 7Вт, 28 СИД"]
[8,null,"ДБО 01-7-030-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-10","С, 500 лм, 7Вт, 28 СИД"]
[9,null,"  Светильники светодиодные 7 Вт   с защитой от повышенного напряжения до 420В."]
[null,null,"ДБО 01-7-001-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-05","З, 500 лм, 6 Вт, 28 СИД",600]
[10,null,"ДБО 01-7-011-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-03","СА, З, 550 лм, 7Вт, 28 СИД",651]
[11,null,"ДБО 01-7-021-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-07","А, З, 550 лм, 7Вт, 28 СИД"]
[12,null,"ДБО 01-7-031-УХЛ 3.1 \"Астра\"","СИЕУ.676190.001-09","С, З, 550 лм, 7Вт, 28 СИД"]
[13,null,"Светодиодный  светильник 7Вт  IP54"]
[null,null,"ДБО 01-7-000-УХЛ 2 \"Астра\"","СИЕУ.676190.001-06.14.02","500 лм, 6Вт, 14 СИД",661]
[14,null,"ДБО 01-7-000-УХЛ 2 \"Астра\"","СИЕУ.676190.001-06.02","500 лм, 6Вт, 28 СИД",682]
[15,null,"ДБО 01-7-001-УХЛ 2 \"Астра\"","СИЕУ.676190.001-05.02","500 лм, 6 Вт,28 СИД",682]
[16,null,"ДБО 01-7-030-УХЛ 2 \"Астра\"","СИЕУ.676190.001-10.14.02","С, 500 лм, 7Вт, 14 СИД",661]
[17,null,"ДБО 01-7-030-УХЛ 2 \"Астра\"","СИЕУ.676190.001-10.02","С, 500 лм, 7Вт, 28 СИД",682]
[18,null,"ДБО 01-7-031-УХЛ 2 \"Астра\"","СИЕУ.676190.001-09.02","С, З, 500 лм, 7Вт, 28 СИД",682]
[]
[]
[]
["№ п/п","Изображение","Название  светильника","Обозначение светильника","Наличие датчика, характеристики.","Цена * розница","Цена* опт"]
[19,null,"Светильники светодиодные 10 Вт  IP 40  "]
[null,null,"ДБО 01-10-001-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-20","без датчика, З, 800 Лм,   10Вт.",662]
[20,null,"ДБО 01-10-011-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-21","СА, З, 800 Лм,   10Вт.",760]
[21,null,"ДБО 01-10-021-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-22","А, З, 800 Лм,   10Вт."]
[22,null,"ДБО 01-10-031-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-23","С, З, 800 Лм,   10Вт."]
[23,null,"ДБО 01-10-121-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-24","А,З,800 Лм,   10Вт, дежурный свет."]
[24,null,"ДБО 01-10-221-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-25","А , З, 800 Лм,   10Вт, плавное погасание"]
[25,null,"ДБО 01-10-321-УХЛ 3.1 \"Астра\"","СИЕУ.6761 90.001-26"," А , З, 800 Лм,   10Вт, дежурный свет, плавное погасание."]
[26,null,"Светильники светодиодные 10 Вт    IP54"]
[null,null,"ДБО 01-10-001-УХЛ 2 \"Астра\"","СИЕУ.6761 90.001-20.02","З, 800 Лм,10Вт, IP 54",1161]
[null,null,"ДБО 01-10-031-УХЛ 2 \"Астра\"","СИЕУ.6761 90.001-23.02","С, З, 800 Лм,   10Вт.IP 54",1171]
[27,null,"Выключатель светоакустический для установки со светодиодными светильниками."]
[null,null,"Выключатель светоакустический САВ1-1","СИЕУ 648152.001-01","Для ламп  накаливания, люминесцентными ламп, светодиодных.",200]
[]
["Примечания:"]
["     Сокращенные обозначения типов выключателей и дополнительных характеристик"]
["СА - светоакустический выключатель"]
["А - акустический выключатель"]
["С - световой выключатель"]
["З - защита от межфазного напряжения до 420 В (действующее значение) СИД – светоизлучающий диод"]
[]
["*","Прайс носит ознакомительный характер, актуальные цены  уточняйте в отделе продаж."]